## Sheet1
| CH | Sys | CH | Item Name | Value - I |  |  |  |  | Ext.G - I |  |  |  |  | Delay - I | [5 empty] | G REP 1 - I |  |  |  |  | G REP 2 - I |  |  |  |  | Alarm Status - I |  |  |  |  | Feedback Alarm Info | [11 empty] | Flag | [9 empty] | FU Address |  |  | Bit |  |  | DI |  |  | DO |  |  | AI |  |  | AO |  |  | Data | Port | Range | Range |  | Device | Status |  | Status | Normal |  | Off | Unit | String | Decimal | Crnter | Filter | Alarm | Control | Pulse | Composite | ECC | Share | Remote | REMARKS
| Type | No. | No. |  | HH | H | L | LL | SF | HH | H | L | LL | SF | Time | HH | H | L | LL | SF | HH | H | L | LL | SF | HH | H | L | LL | SF | HH | H | L | LL | SF | EXT.G | Time | Delay | G.REP1 | G.REP2 | A Status | Sp 1 | Sp 2 | Hys 1 | Hys 2 | S Time | Var | Dmy | SC | SIO | GWS | WK | RL | AC | EP | PLC | SP | No | Prt | Pin | No | Prt | Pin | No | Prt | Pin | No | Prt | Pin | No | Prt | Pin | No | Prt | Pin | Type | No. | Type | Lo | Hi | Status | In | Out | Alarm | Lo | Hi | Set |  |  | Point | Graph | Coef | Timer | Type | Width | Index | Func | Type | CH
1 | Digital | Machinery | 9901 | DUTY 1 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 1 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 1
2 | Digital | Machinery | 9902 | DUTY 2 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 2 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 2
3 | Digital | Machinery | 9903 | DUTY 3 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 3 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 3
4 | Digital | Machinery | 9904 | DUTY 4 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 4 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 4
5 | Digital | Machinery | 9905 | DUTY 5 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 5 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 5
6 | Digital | Machinery | 9906 | DUTY 6 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 6 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 6
7 | Digital | Machinery | 9907 | DUTY 7 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 7 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 7
8 | Digital | Machinery | 9908 | DUTY 8 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 8 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Duty 8
9 | Digital | Machinery | 9909 | ENG CALL 1 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 9 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 1 Call
10 | Digital | Machinery | 9910 | ENG CALL 2 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 10 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 2 Call
11 | Digital | Machinery | 9911 | ENG CALL 3 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 11 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 3 Call
12 | Digital | Machinery | 9912 | ENG CALL 4 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 12 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 4 Call
13 | Digital | Machinery | 9913 | ENG CALL 5 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 13 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 5 Call
14 | Digital | Machinery | 9914 | ENG CALL 6 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 14 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 6 Call
15 | Digital | Machinery | 9915 | ENG CALL 7 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 15 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 7 Call
16 | Digital | Machinery | 9916 | ENG CALL 8 | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 16 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Engineer 8 Call
17 | Digital | Machinery | 9917 | ENG CALL ACCEPT | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 17 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Accept Reset
18 | Digital | Machinery | 9918 | DEAD MAN START | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 18 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Deadman Start
19 | Digital | Machinery | 9919 | DEAD MAN RESET | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 19 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Deadman Reset
20 | Digital | Machinery | 9920 | FIRE | [10 empty] | SEC | [31 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; FU Address No: 0; FU Address Prt: 1; FU Address Pin: 20 | Ext Device (EXT PANEL) | [5 empty] | ON/OFF |  | FALSE | [6 empty] | FALSE | 12 |  |  |  |  | Fire
21 | [83 empty] | FALSE | [6 empty] | FALSE
22 | [83 empty] | FALSE | [6 empty] | FALSE
23 | [83 empty] | FALSE | [6 empty] | FALSE
24 | [83 empty] | FALSE | [6 empty] | FALSE
25 | [83 empty] | FALSE | [6 empty] | FALSE
26 | [83 empty] | FALSE | [6 empty] | FALSE
27 | [83 empty] | FALSE | [6 empty] | FALSE
28 | [83 empty] | FALSE | [6 empty] | FALSE
29 | [83 empty] | FALSE | [6 empty] | FALSE
30 | [83 empty] | FALSE | [6 empty] | FALSE
31 | [83 empty] | FALSE | [6 empty] | FALSE
32 | [83 empty] | FALSE | [6 empty] | FALSE
33 | [83 empty] | FALSE | [6 empty] | FALSE
34 | [83 empty] | FALSE | [6 empty] | FALSE
35 | [83 empty] | FALSE | [6 empty] | FALSE
36 | [83 empty] | FALSE | [6 empty] | FALSE
37 | [83 empty] | FALSE | [6 empty] | FALSE
38 | [83 empty] | FALSE | [6 empty] | FALSE
39 | [83 empty] | FALSE | [6 empty] | FALSE
40 | [83 empty] | FALSE | [6 empty] | FALSE
41 | Valve | Machinery | 9941 | ON AT FUNC TEST | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 1 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | On at Function Test(Machinery)
42 | Valve | Machinery | 9942 | OFF AT FUNC TEST | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 2 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Off at Function Test(Machinery)
43 | Valve | Machinery | 9943 | DUTY MAN LAMP | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 3 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Man(Machinery)
44 | Valve | Machinery | 9944 | DUTY UNMAN LAMP | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 4 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | UnMan(Machinery)
45 | Valve | Machinery | 9945 | DUTY CONFIRM | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 5 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Duty Confirm(Machinery)
46 | Valve | Machinery | 9946 | ACCEPT LAMP | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 6 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Accept Lamp Out
47 | Valve | Machinery | 9947 | ACCEPT BZ | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 7 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Accept Buzzer Out
48 | Valve | Machinery | 9948 | DEAD MAN START LAMP | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 8 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Dead Man Start Lamp
49 | Valve | Machinery | 9949 | DEAD MAN 1 ALARM LAMP | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 9 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Dead 1 Alarm Lamp
50 | Valve | Machinery | 9950 | DEAD MAN 1 ALARM BZ | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 10 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Dead 1 Alarm Buzzer
51 | Valve | Machinery | 9951 | DEAD MAN 2 ALARM LAMP | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 11 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Dead 2 Alarm Lamp
52 | Valve | Machinery | 9952 | DEAD MAN 2 ALARM BZ | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 12 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Dead 2 Alarm Buzzer
53 | Valve | Machinery | 9953 | BZ STOP OUT | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 13 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Buzzer Stop Out(Machinery)
54 | Valve | Machinery | 9954 | FL STOP OUT | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 14 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Fliker Stop Out(Machinery)
55 | Valve | Machinery | 9955 | FUNC TEST 1 | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 15 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Function Test 1(Machinery)
56 | Valve | Machinery | 9956 | FUNC TEST 2 | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 16 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Function Test 2(Machinery)
57 | Valve | Machinery | 9957 | EXT BZ OUT 1 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 17 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 1 Out
58 | Valve | Machinery | 9958 | EXT BZ OUT 2 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 18 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 2 Out
59 | Valve | Machinery | 9559 | EXT BZ OUT 3 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 19 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 3 Out
60 | Valve | Machinery | 9960 | EXT BZ OUT 4 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 20 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 4 Out
61 | Valve | Machinery | 9961 | EXT BZ OUT 5 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 21 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 5 Out
62 | Valve | Machinery | 9962 | EXT BZ OUT 6 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 22 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 6 Out
63 | Valve | Machinery | 9963 | EXT BZ OUT 7 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 23 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 7 Out
64 | Valve | Machinery | 9964 | EXT BZ OUT 8 (PULSE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 24 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Pulse | 5 |  | Ext Group 8 Out
65 | Valve | Machinery | 9965 | EXT GROUP OUT 1 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 25 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 1 Out
66 | Valve | Machinery | 9966 | EXT GROUP OUT 2 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 26 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 2 Out
67 | Valve | Machinery | 9967 | EXT GROUP OUT 3 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 27 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 3 Out
68 | Valve | Machinery | 9968 | EXT GROUP OUT 4 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 28 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 4 Out
69 | Valve | Machinery | 9969 | EXT GROUP OUT 5 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 29 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 5 Out
70 | Valve | Machinery | 9970 | EXT GROUP OUT 6 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 30 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 6 Out
71 | Valve | Machinery | 9971 | EXT GROUP OUT 7 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 31 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 7 Out
72 | Valve | Machinery | 9972 | EXT GROUP OUT 8 (CONTINUE) | [32 empty] | SEC | [9 empty] | Flag Dmy: 0; Flag SC: 1; Flag SIO: 0; Flag GWS: 0; Flag WK: 0; Flag RL: 0; Flag AC: 0; Flag EP: 0; Flag PLC: 0; Flag SP: 0; DO No: 0; DO Prt: 2; DO Pin: 32 | DO (EXT PANEL) | [6 empty] | * | FALSE | [6 empty] | FALSE |  | 0 | Continue(OFF) |  |  | Ext Group 8 Out
73 | [83 empty] | FALSE | [6 empty] | FALSE
74 | [83 empty] | FALSE | [6 empty] | FALSE
75 | [83 empty] | FALSE | [6 empty] | FALSE
76 | [83 empty] | FALSE | [6 empty] | FALSE
77 | [83 empty] | FALSE | [6 empty] | FALSE
78 | [83 empty] | FALSE | [6 empty] | FALSE
79 | [83 empty] | FALSE | [6 empty] | FALSE
80 | [83 empty] | FALSE | [6 empty] | FALSE
81 | [83 empty] | FALSE | [6 empty] | FALSE
82 | [83 empty] | FALSE | [6 empty] | FALSE
83 | [83 empty] | FALSE | [6 empty] | FALSE
84 | [83 empty] | FALSE | [6 empty] | FALSE
85 | [83 empty] | FALSE | [6 empty] | FALSE
86 | [83 empty] | FALSE | [6 empty] | FALSE
87 | [83 empty] | FALSE | [6 empty] | FALSE
88 | [83 empty] | FALSE | [6 empty] | FALSE
89 | [83 empty] | FALSE | [6 empty] | FALSE
90 | [83 empty] | FALSE | [6 empty] | FALSE
91 | [83 empty] | FALSE | [6 empty] | FALSE
92 | [83 empty] | FALSE | [6 empty] | FALSE
93 | [83 empty] | FALSE | [6 empty] | FALSE
94 | [83 empty] | FALSE | [6 empty] | FALSE
95 | [83 empty] | FALSE | [6 empty] | FALSE
96 | [83 empty] | FALSE | [6 empty] | FALSE
97 | [83 empty] | FALSE | [6 empty] | FALSE
98 | [83 empty] | FALSE | [6 empty] | FALSE
99 | [83 empty] | FALSE | [6 empty] | FALSE
100 | [83 empty] | FALSE | [6 empty] | FALSE